Ausschreibungstext

Artikelnummer

228519

Typ

IEB-78M3611MAA 9005

Kurzbeschreibung

1/2,5" Netzwerk Kamera, 3840x2160, Tag/Nacht, WDR, 3,6-11mm, IR, IP66, Schwarz

Hauptmerkmale

1/2,5" Sony STARVIS CMOS

4K UHD Auflösung (3840x2160), 25fps Bildrate

Motorisiertes Varifocal Objektiv 3,6~11mm mit P-Iris

Intelligente selbstlernende Video Analyse (IntelliVision inside)

Wide Dynamic Range, True WDR (120dB)

Quad Streaming, Smart Codec ROI Hi-Stream

Micro SD Card (SDHC, SDXC)

Je ein Alarm Ein- und Ausgang sowie Audio Unterstützung

Infrarotbeleuchtung bis zu 30m

PoE IEEE 802.3af Class 0, 12VDC, IP66

Unterstützt ONVIF Profile S und Profile T

Farbe RAL 9005 Schwarz

Weitere Merkmale (Spezifikationen)

| Hersteller-Nummer | 228519 |
| --- | --- |
| Hersteller | eneo |

Weitere Produktinformationen

Zubehör

| AK-8B RAL 9005 | Kamera Anschlussbox für Wand und Deckenmontage, Schwarz |
| --- | --- |
| eneo Site Manager | Management Software für eneo IP Produkte |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1x SFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45 und 1x SFP 1000Mbps, Unmanaged, Industrie Design |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1HE |
| IAR-7SG1016MMA | Gigabit Switch, Managed, 270W, 16x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HE |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HE |

Empfehlungen

Dienstleistungen