Ausschreibungstext

Artikelnummer

244237

Typ

AXIS I5304 BLACK

Kurzbeschreibung

Netzwerk Innensprechstelle, 7" Touch Display, schwarz

Hauptmerkmale

Elegantes, vielseitiges Kommunikationsgerät

Ideal für den Büro- und Geschäftsgebrauch

7" Kapazitives Touchpanel

Hervorragende Videoqualität für visuelle Überprüfung

Klare 2-Wege-Kommunikation

Powered by 2N OS

Verfügbar in schwarz und weiß

Erfordert zusätzliches Zubehör zur Befestigung

Weitere Merkmale (Spezifikationen)

| EAN/GTIN | 7331021091337 |
| --- | --- |
| LED Statusanzeige | Nein |
| Hersteller-Nummer | 03239-001 |
| Schwingungssensor | Nein |
| Serie | Axis I-Serie |
| Stromversorgung | 12VDC, PoE |
| Temperaturbereich (Betrieb) | 0°C ~ +50°C |
| Hersteller | AXIS |

Weitere Produktinformationen

Zubehör

| AXIS 30 W MIDSPAN AC/DC 24 V | PoE+ Midspan, IEEE802.3at, IEEE802.3af, 1 Port, Innen, 30W, 24 V AC, 10-28 V DC |
| --- | --- |
| AXIS 30W MIDSPAN | PoE+ Midspan, IEEE802.3at, Type 2, Class 4, 1 Port, Innen, 100-240VAC |
| AXIS 30W OUTDOOR MIDSPAN | PoE Midspan, 1 Port, IEEE802.3at, 30W, IP66/67, -40°C - +65°C |
| AXIS 90 W MIDSPAN AC/DC | PoE Midspan, 1 Port, 90W, IEEE 802.3bt, 24VDC, 24VAC |
| AXIS D8004 UNMANAGED POE SWITCH | Fast Ethernet Switch, Layer2, 4 Ports mit PoE+, 1 Uplink, 60W PoE Budget |
| AXIS D8208-R INDUSTRIAL POE++ SWITCH | PoE Gigabit Switch, managed, 8xPoE++ (480W), 2xSFP+ Ports |
| AXIS D8248 MANAGED POE++ SWITC | 48-Port PoE++ Switch mit 4 SFP+-Ports, 740W |
| AXIS LONG RANGE POE EXTENDER KIT | PoE Extender, PoE, PoE+, Innen, RJ45, bis 1000m Reichweite |
| AXIS POE MIDSPAN 8-PORT | PoE Midspan, 8 Port, IEEE802.3af, 90-264VAC |
| AXIS T8120 15W MIDSPAN 1-PORT | PoE Midspan, 1 Port, IEEE802.3af, 10/100Mbps |
| AXIS T8120 15W MIDSPAN 10PCS | PoE Midspan, 1 Port, IEEE802.3af, 10/100Mbps, 10 Stück |
| AXIS T8129 POE EXTENDER | PoE Extender, PoE, PoE+ kompatibel, RJ45, 100m Reichweite |
| AXIS T8129-E OUTDOOR POE EXTENDER | PoE Extender, PoE, PoE+, Außen, IP66/67, 200m Reichweite |
| AXIS T8144 60W INDUSTRIAL MIDSPAN | High PoE Midspan, 1 Port, 60W, Gigabit, -40 - +75°C, 20-60VDC DIN Montage |
| AXIS T8154 60W SFP MIDSPAN | PoE Midspan, 1 Port, 60W, SFP-Slot, Gigabit, 100-240V |
| AXIS T8504-E OUTDOOR POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 150W PoE, Außen, IP67 |
| AXIS T8504-R INDUSTRIAL POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 240W PoE Budget |
| AXIS T8508 POE+ NETWORK SWITCH | Gigabit Switch, managed, 8 PoE+ Ports, 2x SFP/RJ45 Uplinks, 130W PoE, 1HE |
| AXIS T8516 POE+ NETWORK SWITCH | Gigabit Switch, managed, 16 PoE+ Ports, 2x SFP/RJ45 Uplinks, 240W PoE, 19", 1HE |
| AXIS T8524 POE+ NETWORK SWITCH | Gigabit Switch, managed, 24 PoE+ Ports, 2x SFP/RJ45 Uplinks, 370W PoE, 19", 1HE |
| AXIS T8640 POE+ OVER COAX KIT | Medienkonverter, RJ45, BNC, Ethernet über Koax, PoE+, Base-/Device Set (2 Stück) |
| AXIS T8645 POE+ COAX COMPACT KIT | PoE+ über Coax Set, 1x AXIS T8641 Base Einheit, 1x AXIS T8643 Device Einheit |
| AXIS TI5201 RECESSED MOUNT | Einbau-/Unterputzgehäuse, für AXIS I5304 |
| AXIS TI5601 WALL MOUNT | Wandhalterung, für AXIS TI5601 |
| AXIS TI5602 DESK STAND | Tischgehäuse, für AXIS TI5601 |
| AXIS TU8002-E 90 W MIDSPAN | Midspan, 90W, für den Außenbereich |
| AXIS TU8004 90 W Midspan | IEEE 802.3bt und AXIS High PoE |
| AXIS TU8010 2-port PoE Extender | 2-port PoE Extender, innen, RJ45, bis 100m, PoE, High PoE 60W oder 2x30W |
| AXIS TU8011 4-port PoE Extender | 4-port PoE Extender, innen, RJ45, bis 100m, PoE 4x15W |

Empfehlungen

Dienstleistungen