Ausschreibungstext

Artikelnummer

218876

Typ

AXIS M5054

Kurzbeschreibung

1/4,85" Netzwerk Dome, PTZ, Farbe, Innen, 5x,  2,2–11 mm, 1280x720, IP51, PoE

Hauptmerkmale

Weitere Merkmale (Spezifikationen)

| Produktkennzeichnungen |  |
| --- | --- |
| EAN/GTIN | 7331021059894 |
| Hersteller | AXIS |

Weitere Produktinformationen

Zubehör

| AXIS 30 W MIDSPAN AC/DC 24 V | PoE+ Midspan, IEEE802.3at, IEEE802.3af, 1 Port, Innen, 30W, 24 V AC, 10-28 V DC |
| --- | --- |
| AXIS 30W MIDSPAN | PoE+ Midspan, IEEE802.3at, Type 2, Class 4, 1 Port, Innen, 100-240VAC |
| AXIS 30W OUTDOOR MIDSPAN | PoE Midspan, 1 Port, IEEE802.3at, 30W, IP66/67, -40°C - +65°C |
| AXIS 4IN1 SECURITY SCREWDRIVER | Schraubendreher Set, 4-in-1, Biteinsätze pasend für Axis Produkte, inkl. Tasche |
| AXIS ACS 1 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 1 Kanal, Papierlizenz! |
| AXIS ACS 1 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 1 Kanal, Papierlizenz! |
| AXIS ACS 10 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 10 Kanal, Papierlizenz! |
| AXIS ACS 16 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 16 Kanal, Papierlizenz! |
| AXIS ACS 20 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 20 Kanal, Papierlizenz! |
| AXIS ACS 32 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 32 Kanal, Papierlizenz! |
| AXIS ACS 4 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 4 Kanal, Papierlizenz! |
| AXIS ACS 4 TO UNIVERSAL 1 UPG.LIC | Axis Camera Station, Upgrade Version 4.x auf 5.x Universal Device, 1 Kanal, Papierlizenz! |
| AXIS ACS 4 TO UNIVERSAL 10 UPG.LIC | Axis Camera Station, Upgrade Version 4.x auf 5.x Universal Device, 10 Kanal, Papierlizenz! |
| AXIS ACS 4 TO UNIVERSAL 20 UPG.LIC | Axis Camera Station, Upgrade Version 4.x auf 5.x Universal Device, 20 Kanal, Papierlizenz! |
| AXIS ACS 4 TO UNIVERSAL 5 UPG.LIC | Axis Camera Station, Upgrade Version 4.x auf 5.x Universal Device, 5 Kanal, Papierlizenz! |
| AXIS ACS 4 TO UNIVERSAL UPG E-LICENSE | Axis Camera Station, Upgrade Version 4.x nach 5.x Universal Device, E-Lizenz, 1 Kanal |
| AXIS ACS 4 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 4 Kanal, Papierlizenz! |
| AXIS ACS CORE DEVICE E-LICENSE | Axis Camera Station Software, Core Device, E-Lizenz 1 Kanal, Sammelcode bei > 1 Stück |
| AXIS ACS CORE TO UNIVERSAL 1 UPG.LIC | Axis Camera Station, Upgrade Version 5.x Core auf Universal Device, 1 Kanal, Papierlizenz! |
| AXIS ACS CORE TO UNIVERSAL 10 UPG.LIC | Axis Camera Station, Upgrade Version 5.x Core auf Universal Device, 10 Kanal, Papierlizenz! |
| AXIS ACS CORE TO UNIVERSAL 20 UPG.LIC | Axis Camera Station, Upgrade Version 5.x Core auf Universal Device, 20 Kanal, Papierlizenz! |
| AXIS ACS CORE TO UNIVERSAL 5 UPG.LIC | Axis Camera Station, Upgrade Version 5.x Core auf Universal Device, 5 Kanal, Papierlizenz! |
| AXIS ACS CORE TO UNIVERSAL UPG E-LICENSE | Axis Camera Station, Upgrade Version 5.x Core to Universal Device, E-Lizenz, 1 Kanal |
| AXIS ACS UNIVERSAL DEVICE E-LICENSE | Axis Camera Station Software, Universal Device, E-Lizenz 1 Kanal, Sammelcode bei > 1 Stück |
| AXIS Companion VMS Version 4 | Video Management Software, für 16 Axis Kameras, kostenlos |
| AXIS LONG RANGE POE EXTENDER KIT | PoE Extender, PoE, PoE+, Innen, RJ45, bis 1000m Reichweite |
| AXIS M12(F)-RJ45(M) CABLE 0.5M (1.6FT) | Kabel, CAT5e, M12 (Female, D-Code) auf RJ-45 (Male), 0,5m |
| AXIS M50 CLEAR DOME COVER A | Kuppel, klar, mit Rahmen, weiß, für AXIS M5054/55/65 Kameras, Ersatzteil |
| AXIS M501X MOUNTING KIT | Montage Kit für Deckeneinbau, für Axis M501X |
| AXIS POE MIDSPAN 16-PORT | PoE Midspan, 16 Port, IEEE802.3af, 90-264VAC |
| AXIS POE MIDSPAN 8-PORT | PoE Midspan, 8 Port, IEEE802.3af, 90-264VAC |
| AXIS RJ45 FIELD CONNECTOR 10 PCS | Netzwerkstecker, RJ45, male, CAT5/6/6a (AWG 22-26), MPTL- und PoE geeignet, 10 Stück |
| AXIS SURVEILLANCE CARD 128 GB | Speicherkarte, microSDXC, 128GB, Class 10, 50-80 MB/s, SD-Adapter, Axis zertifiziert |
| AXIS SURVEILLANCE CARD 128 GB 10P | Speicherkarte, microSDXC, 128GB, Class 10, 50-80 MB/s, Axis zertifiziert, 10 Stück |
| AXIS SURVEILLANCE CARD 1TB | Speicherkarte, microSDXC, 1TB, Class 10, UHS-I U1, inkl. SD-Adapter |
| AXIS SURVEILLANCE CARD 1TB 10PCS | Speicherkarte, microSDXC, 1TB, Class 10, UHS-I U1, inkl. SD-Adapter, 10 Stück |
| AXIS SURVEILLANCE CARD 256GB | Speicherkarte, microSDXC, 256GB, Class 10, V30, inkl. SD-Adapter |
| AXIS SURVEILLANCE CARD 256GB 10PCS | Speicherkarte, microSDXC, 256GB, Class 10, V30, inkl. SD-Adapter, 10 Stück |
| AXIS SURVEILLANCE CARD 512GB | Speicherkarte, microSDXC, 512GB, Class 10, UHS-I U1, inkl. SD-Adapter |
| AXIS SURVEILLANCE CARD 512GB 10PCS | Speicherkarte, microSDXC, 512GB, Class 10, UHS-I U1, inkl. SD-Adapter, 10 Stück |
| AXIS SURVEILLANCE CARD 64 GB | Speicherkarte, microSDXC, 64GB, Class 10, 20 MB/s, inkl. SD-Adapter, Axis zertifiziert |
| AXIS T8120 15W MIDSPAN 1-PORT | PoE Midspan, 1 Port, IEEE802.3af, 10/100Mbps |
| AXIS T8129 POE EXTENDER | PoE Extender, PoE, PoE+ kompatibel, RJ45, 100m Reichweite |
| AXIS T8134 60W MIDSPAN | High PoE Midspan, 1 Port, 60W, Gigabit, -10 - +45°C, 100-240V IEEE802.3at, IEEE802.3af |
| AXIS T8144 60W INDUSTRIAL MIDSPAN | High PoE Midspan, 1 Port, 60W, Gigabit, -40 - +75°C, 20-60VDC DIN Montage |
| AXIS T8154 60W SFP MIDSPAN | PoE Midspan, 1 Port, 60W, SFP-Slot, Gigabit, 100-240V |
| AXIS T8415 WIRELESS INSTALLATION TOOL | Installations Tool, zur Axis Kamera Einrichtung, WLAN, Akku, USB, PoE+, ONVIF |
| AXIS T8504-E OUTDOOR POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 150W PoE, Außen, IP67 |
| AXIS T8504-R INDUSTRIAL POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 240W PoE Budget |
| AXIS T8508 POE+ NETWORK SWITCH | Gigabit Switch, managed, 8 PoE+ Ports, 2x SFP/RJ45 Uplinks, 130W PoE, 1HE |
| AXIS T8516 POE+ NETWORK SWITCH | Gigabit Switch, managed, 16 PoE+ Ports, 2x SFP/RJ45 Uplinks, 240W PoE, 19", 1HE |
| AXIS T8524 POE+ NETWORK SWITCH | Gigabit Switch, managed, 24 PoE+ Ports, 2x SFP/RJ45 Uplinks, 370W PoE, 19", 1HE |
| AXIS T8604 MEDIA CONVERTER SWITCH | Ethernet Medienkonverter, 2x 10/100Mbps RJ45, 2x 100/1000Mbps SFP |
| AXIS T8606 MEDIA CONV SWITCH 24VDC | Ethernet Medienkonverter, 2x 10/100Mbps RJ45, 2x 100/1000Mbps SFP, 24VDC |
| AXIS T8640 POE+ OVER COAX KIT | Medienkonverter, RJ45, BNC, Ethernet über Koax, PoE+, Base-/Device Set (2 Stück) |
| AXIS T8645 POE+ COAX COMPACT KIT | PoE+ über Coax Set, 1x AXIS T8641 Base Einheit, 1x AXIS T8643 Device Einheit |
| AXIS T8646 POE+ OVER COAX KIT | PoE+ OVER COAX Set, 6-Kanal: 1x T8646 POE+ OVER COAX BLADE, 6x T8642 POE+ OVER COAX DEVICE |
| AXIS T8648 POE+ COAX BLADE COM | PoE+ über Coax Set, 1x AXIS T8646 Einschubkarte, 6x AXIS T8643 Device Einheiten |
| AXIS T90D25 POE W-LED | LED Weißlicht Scheinwerfer, 6000K, 10-120°, austauschbare Linsen, PoE, 25W, IP66, IK09 |
| AXIS T90D25 W-LED | LED Weißlicht Scheinwerfer, 6000K, 10-120°, austauschbare Linsen, 12-24V, 24W, IP66, IK9 |
| AXIS T90D35 POE W-LED | LED Weißlicht Scheinwerfer, 6000K, 10-120°, austauschbare Linsen, PoE, 47W, IP66, IK09 |
| AXIS T90D35 W-LED | LED Weißlicht Scheinwerfer, 6000K, 10-120°, austauschbare Linsen, 12-24V, 42W, IP66, IK9 |
| AXIS T91A04 CAMERA HOLDER 3/4" NPS | Halterung für abgehängte Kameras, für 3/4" Rohre mit NPS oder NPT Gewinde |
| AXIS T91A05 CAMERA HOLDER 1.5" NPS | Halterung für abgehängte Kameras, für 1,5" Rohre mit NPS oder NPT Gewinde |
| AXIS T91A23 TILE GRID CEIL MNT 4P | Halterung, für Montage an Fliesenrasterdeckensystemen, weiß, 4 Stück |
| AXIS T91B21 STAND BLACK | Standfuß, schwarz, Aluminium, Innen, für P13/M11/Q16-Serie, Ersatzteil |
| AXIS T91B21 STAND WHITE | Standfuß, weiß, Aluminium, Innen, für P13/M11/Q16-Serie |
| AXIS TU8001 ETHERNET SURGE PROTECTOR | Überspannungsschutz, bis 10kV, für Netzwerkkomponenten, Innen, PoE bis 95W, 1000BASE-T |

Empfehlungen

| jetrics network RJ45S-Cat6-small-FC | RJ45 Stecker Cat.6 AWG22-26, Feldkonfektionierbar, schmale und kurze Ausführung |
| --- | --- |
| Western Digital SD card,WDD256G1P0C,256GB,Class10 | MicroSDXC Speicherkarte, 256GB, Class 10, UHS-I U1, 128TBW, für Videoüberwachung |
| Western Digital WDD032G1P0C | MicroSDXC Speicherkarte, 32GB, Class 10, UHS-I U1, 16TBW, für Videoüberwachung |
| Western Digital WDD064G1P0C | MicroSDXC Speicherkarte, 64GB, Class 10, UHS-I U1, 32TBW, für Videoüberwachung |
| Western Digital WDD128G1P0C | MicroSDXC Speicherkarte, 128GB, Class 10, UHS-I U1, 64TBW, für Videoüberwachung |

Dienstleistungen

| CON-BER-M | 2D Planung Medium mittlere Projektkomplexität ca. 25 Kameras |
| --- | --- |
| VIDEOR CON-KOMP | Kompatibilitätsprüfung für Kameras, NVR, VMS-Systeme (ein Gerätepaar) |
| VIDEOR LACKIERUNG PTZ oder Panoramakamera | im RAL Farbton |
| VIDEOR Vorkonfiguration IP-Kamera | IP Konfiguration, Funktionsprüfung, FW-Update für 1x IP-Kamera |