Ausschreibungstext

Artikelnummer

220805

Typ

AXIS S1148 140TB

Kurzbeschreibung

Netzwerk Video Rekorder, 48 IP Kanäle (max. 64), 14x SATA, 14x 10TB HDD, RAID 5, 19", 2HE

Hauptmerkmale

Vorinstallierter Axis Camera Station Rekorder

48 AXIS Camera Station 5.x Core Lizenzen

Erweiterung auf max. 64 Kanäle möglich

512 Mbit/s Gesamtdatendurchsatz (Aufnahme)

Intel® Xeon® Silver 4208, 2,10 GHz, 32GB RAM

14x 10TB Enterprise HDDs, 7200 rpm, SATA 6Gb/s

RAID 6 ab Werk, 120 TB nutzbarer Speicher

Insgesamt 14 HDD Steckplätze

Verwendung von Cient-PC für Liveansicht empfohlen

Microsoft Windows 10 Enterprise auf 240 GB SSD

Rackeinbaugehäuse, 19", 2 HE

Onsite HardwareReplacement Service

Weitere Merkmale (Spezifikationen)

| EAN/GTIN | 7331021065888 |
| --- | --- |
| Serie | Axis S11 |
| IP Kanäle | 48 |
| Kompression | H.264, H.265, M-JPEG |
| Monitor-Ausgänge | 2x VGA |
| Netzwerk | 2x 10/100/1000Base-TX RJ45 |
| Audiounterstützung | ja |
| Festplattenkapazität intern max. | 140 TB |
| Festplattenkapazität intern | 140 TB |
| Schnittstellen externer Speicher | USB |
| HDD Steckplätze | 8x SATA |
| HDD Hotswap | keine Angabe |
| USB Ports | 1x USB 3.1 Type-C, 2x USB 2.0, 2x USB 3.1 |
| RAID | RAID 0, RAID 1, RAID 10, RAID 5, RAID 6 |
| Datendurchsatz max. | 512 Mbps |
| ONVIF | ja |
| Hersteller-Nummer | 01616-001 |
| Hersteller | AXIS |

Weitere Produktinformationen

Zubehör

| ACS 1 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, Lizenzcode, 1 Kanal |
| --- | --- |
| ACS 1 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, Lizenzcode, 1 Kanal |
| ACS 10 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, Lizenzcode, 10 Kanal |
| ACS 16 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, Lizenzcode, 16 Kanal |
| ACS 20 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, Lizenzcode, 20 Kanal |
| ACS 32 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, Lizenzcode, 32 Kanal |
| ACS 4 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, Lizenzcode, 4 Kanal |
| ACS 4 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, Lizenzcode, 4 Kanal |
| ACS CORE DEVICE E-LICENSE | Axis Camera Station Software, Core Device, E-Lizenz 1 Kanal, Sammelcode bei > 1 Stück |
| ACS UNIVERSAL DEVICE E-LICENSE | Axis Camera Station Software, Universal Device, E-Lizenz 1 Kanal, Sammelcode bei > 1 Stück |
| AXIS A1001 NETWORK DOOR CONTROLLER | Netzwerk Tür Controller, 2x Tür, 2x Leser, 2x AUX, Wiegand, RS-485, OSDP, PoE |
| AXIS A1601 | Netzwerk Tür Controller, 2x Tür, 2x Leser, 2x AUX, 2x Relais, RS-485, OSDP, PoE+ |
| AXIS T8311 JOYSTICK | 3-Achsen Joystick, für Axis PTZ Kameras, Domes |
| AXIS T8504-E OUTDOOR POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 150W PoE, Außen, IP67 |
| AXIS T8504-R INDUSTRIAL POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 240W PoE Budget |
| AXIS T8508 POE+ NETWORK SWITCH | Gigabit Switch, managed, 8 PoE+ Ports, 2x SFP/RJ45 Uplinks, 130W PoE, 1HE |
| AXIS T8516 POE+ NETWORK SWITCH | Gigabit Switch, managed, 16 PoE+ Ports, 2x SFP/RJ45 Uplinks, 240W PoE, 19", 1HE |
| AXIS T8524 POE+ NETWORK SWITCH | Gigabit Switch, managed, 24 PoE+ Ports, 2x SFP/RJ45 Uplinks, 370W PoE, 19", 1HE |

Empfehlungen

| jetcon-RJ45S-Cat6-small-FC | RJ45 Stecker Cat.6 AWG22-26, Feldkonfektionierbar, schmale und kurze Ausführung |
| --- | --- |

Dienstleistungen

| CON-HDD-DVR-NVR | Festplatteneinbauservice für diverse Hersteller |
| --- | --- |
| CON-KOMP | Kompatibilitätsprüfung für Kameras, NVR, VMS-Systeme (ein Gerätepaar) |
| CON-NVR-KON-04 | Vorkonfiguration 1x Netzwerk Video Rekorder mit bis zu 4 IP-Kameras |
| CON-NVR-KON-08 | Vorkonfiguration 1x Netzwerk Video Rekorder mit bis zu 8 IP-Kameras |
| CON-NVR-KON-16 | Vorkonfiguration 1x Netzwerk Video Rekorder mit bis zu 16 IP-Kameras |
| CON-NVR-KON-xx | Vorkonfiguration 1x Netzwerk Video Rekorder mit mehr als 32 IP-Kameras |