Ausschreibungstext

Artikelnummer

220805

Typ

AXIS S1148 140TB

Kurzbeschreibung

Netzwerk Video Rekorder, 48 IP Kanäle (max. 64), 14x SATA, 14x 10TB HDD, RAID 5, 19", 2HE

Hauptmerkmale

Weitere Merkmale (Spezifikationen)

| Produktkennzeichnungen |  |
| --- | --- |
| EAN/GTIN | 7331021065888 |
| Hersteller | AXIS |

Weitere Produktinformationen

Zubehör

| AXIS A1001 NETWORK DOOR CONTROLLER | Netzwerk Tür Controller, 2x Tür, 2x Leser, 2x AUX, Wiegand, RS-485, OSDP, PoE |
| --- | --- |
| AXIS A1601 | Netzwerk Tür Controller, 2x Tür, 2x Leser, 2x AUX, 2x Relais, RS-485, OSDP, PoE+ |
| AXIS ACS 1 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 1 Kanal, Papierlizenz! |
| AXIS ACS 1 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 1 Kanal, Papierlizenz! |
| AXIS ACS 10 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 10 Kanal, Papierlizenz! |
| AXIS ACS 16 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 16 Kanal, Papierlizenz! |
| AXIS ACS 20 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 20 Kanal, Papierlizenz! |
| AXIS ACS 32 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 32 Kanal, Papierlizenz! |
| AXIS ACS 4 CORE DEVICE LICENSE | Axis Camera Station Software, Version 5.x Core Device, 4 Kanal, Papierlizenz! |
| AXIS ACS 4 UNIVERSAL DEVICE LICENSE | Axis Camera Station Software, Version 5.x Universal Device, 4 Kanal, Papierlizenz! |
| AXIS ACS CORE DEVICE E-LICENSE | Axis Camera Station Software, Core Device, E-Lizenz 1 Kanal, Sammelcode bei > 1 Stück |
| AXIS ACS UNIVERSAL DEVICE E-LICENSE | Axis Camera Station Software, Universal Device, E-Lizenz 1 Kanal, Sammelcode bei > 1 Stück |
| AXIS T8311 JOYSTICK | 3-Achsen Joystick, für Axis PTZ Kameras, Domes |
| AXIS T8504-E OUTDOOR POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 150W PoE, Außen, IP67 |
| AXIS T8504-R INDUSTRIAL POE SWITCH | Gigabit Switch, managed, 4 PoE+ Ports bis 60W, SFP Uplink, 240W PoE Budget |
| AXIS T8508 POE+ NETWORK SWITCH | Gigabit Switch, managed, 8 PoE+ Ports, 2x SFP/RJ45 Uplinks, 130W PoE, 1HE |
| AXIS T8516 POE+ NETWORK SWITCH | Gigabit Switch, managed, 16 PoE+ Ports, 2x SFP/RJ45 Uplinks, 240W PoE, 19", 1HE |
| AXIS T8524 POE+ NETWORK SWITCH | Gigabit Switch, managed, 24 PoE+ Ports, 2x SFP/RJ45 Uplinks, 370W PoE, 19", 1HE |

Empfehlungen

| Jetrics jetcon-RJ45S-Cat6-small-FC | RJ45 Stecker Cat.6 AWG22-26, Feldkonfektionierbar, schmale und kurze Ausführung |
| --- | --- |

Dienstleistungen

| CON-NVR-KON-04 | Vorkonfiguration 1x Netzwerk Video Rekorder mit bis zu 4 IP-Kameras |
| --- | --- |
| VIDEOR CON-HDD-DVR-NVR | Festplatteneinbauservice für diverse Hersteller |
| VIDEOR CON-KOMP | Kompatibilitätsprüfung für Kameras, NVR, VMS-Systeme (ein Gerätepaar) |
| VIDEOR CON-NVR-KON-08 | Vorkonfiguration 1x Netzwerk Video Rekorder mit bis zu 8 IP-Kameras |
| VIDEOR CON-NVR-KON-16 | Vorkonfiguration 1x Netzwerk Video Rekorder mit bis zu 16 IP-Kameras |
| VIDEOR CON-NVR-KON-xx | Vorkonfiguration 1x Netzwerk Video Rekorder mit mehr als 32 IP-Kameras |