Specifications text

Article number

222056

Type

jetrics NDR-120-48 DIN Rail

Short description

Power Supply, 230VAC / 48VDC, max. 120W, for DIN rail mounting

Main Features

Other Features (Specifications)

| General |  |
| --- | --- |
| Power consumption | 290 W |
| Temperature Range (Operating) | -20°C ~ +70°C |
| Product labeling: |  |
| Manufacturer order number | 222056 |
| Brand | Jetrics |

Additional Productinformation

Related products

Recommendations

Services