Specifications text



Article number
221346

Type
eneo MER-28N040000A

Short description
Multisignal HD Video Recorder, 4-channel, up to 8MP, IP, HD-, EX-SDI, AHD, CVI, HD-TVI, 960H

Main Features
4-Channel Multisignal Recorder
Resolution cameras up to 8 megapixel
Automatic signal and resolution detection
IP, HD-SDI, EX-SDI, HD-TVI, AHD, CVI, 960H, Composite
HDMI and VGA video outputs (Main/Spot operation)
Resolution Main Video out UHD 3840x2160
Programmable composite Spot Monitor output
H.265/H.264 video compression standard
Image data export via USB 2.0, POS interface
Intuitive GUI, DSGVO compliant features
Access via mobile, browser and CMS
eSATA connection, HDD Mirror function
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