Specifications text

Article number

223916

Type

AES-5SF0036M1A

Short description

1/3" Mini Dome, Fix, clear, 3,6mm, 960TVL, 12VDC, vandalism protect

Main Features

1/3" Fix dome camera with Sony CCD

Integrated lens F2.0/3.6mm

Resolution of 960 horizontal lines

Automatic shutter control

Digital signal processing (DSP)

Automatic white balance (ATW)

White-coloured aluminium die-cast casing

Clear Lexan bubble, 57mm

Easy indoor installation

For wall or ceiling mounting

Vandal resistant

Other Features (Specifications)

| General |  |
| --- | --- |
| Vandalism-resistant | Yes |
| Lighting | no |
| Dimensions (WxHxD) (extended) | 60,5x80 |
| Color (dome) | clear |
| Housing type | Outside |
| Housing material | Aluminium |
| Mounting type | Ceiling |
| Protection | IP66 |
| Power supply | 12VDC |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Wide Dynamic Range (WDR) | no |
| Certifications | IK10 |
| Camera |  |
| Recording sensor | CCD |
| Chip size | 1/3" |
| Camera shape | Minsters |
| Signal-to-noise ratio | -50 dB |
| Day/night mode | Automatic |
| White balance | ATW |
| Photosensitivity | 0,1 Lux bei F1,2,50 IRE |
| System | Electronic Day&Night |
| Day/night switching | Electronic |
| DORI |  |
| Watch (62px/m) | 12.6 m |
| Identify (250px/m) | 2.8 m |
| Perceiving (25px/m) | 32.2 m |
| Functions |  |
| Digital Noise Reduction (DNR) | Yes |
| Interfaces / Inputs/ Outputs |  |
| External connections | 12VDC input (DC plug),Composite (FBAS),connection cable approx.25cm |
| Control Interfaces | no |
| Parts supplied |  |
| Scope of delivery | manual,screw set,bag of screws |
| Lens |  |
| Horizontal angle of view | 68° |
| Focal length | 3,6 mm |
| Lens Type | Prime lens |
| Video |  |
| Horizontal resolution | 960 TVL |
| Product labeling: |  |
| Manufacturer order number | 223916 |
| Series | eneo COAXIZE |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services