Specifications text

Article number

221576

Type

IAM-6MC1001MTA

Short description

Ethernet Coax Transmitter Data & Power over Coax 1 x RJ-45, 1 x BNC

Main Features

EPOC Ethernet and Power over Coax Transmission

RJ45 Ethernet and BNC-Female plug

Max. Transmission Rate 95Mbps Full Duplex

Data Transmission up to 2.4Km

PoC Transmission up to 1.2Km

Power Supply Transmitter PoE or 12-57V DC

PoE Power Supply for Camera

128 Bit AES Network Encryption

Supports Multi Connection (Daisy Chain, Star)

Surge Protection

Temperature Range (Operating) -20° C bis +60°C

Easy Installation (Plug & Play)

Other Features (Specifications)

| Dimensions (WxHxD) (extended) | 24x61,6x82,4mm |
| --- | --- |
| Scope of delivery | manual |
| Manufacturer order number | 221576 |
| Series | eneo EPOC |
| Power supply | 56VDC, Power over Coax (PoC) |
| Temperature Range (Operating) | -20°C ~ +60°C |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services