Specifications text

Article number

221577

Type

IAM-6MC1001MRA

Short description

Ethernet Coax Receiver Data & Power over Coax 1 x RJ-45, 1 x BNC

Main Features

EPOC Ethernet and Power over Coax Transmission

RJ45 Ethernet and BNC-Female plug

Max. Transmission Rate 95Mbps Full Duplex

Data Transmission up to 2.4Km

PoC Transmission up to 1.2Km

Power Supply Receiver PoE or 12-57V DC

PoE/PoE+ Power Supply for Transmitter

128 Bit AES Network Encryption

Supports Multi Connection (Daisy Chain, Star)

Surge Protection

Temperature Range (Operating) -20° C bis +60°C

Easy Installation (Plug & Play)

Other Features (Specifications)

| Dimensions (HxWxD) | 24x61,6x82,4mm |
| --- | --- |
| Series | eneo EPOC |
| Housing | Metal |
| Color | anthracite |
| Ethernet interface | 100Base-TX, 10Base-T |
| Data tranfer rate max. | 95 Mbps |
| Model | module |
| Supply voltage | 56VDC |
| Power over Ethernet | IEEE 802.3af, IEEE 802.3at |
| Operating temperature | -20°C ~ +60°C |
| Weight | 77g |
| Manufacturer order number | 221577 |
| Brand | eneo |

Additional Productinformation

Related products

| IAM-4MU1001M0A | EPOC Signal Converter, BNC to 2-wire cable transmission for EPOC Cameras, Transceiver |
| --- | --- |
| NE-141/220VAC-57VDC | Power supply input 100-240VAC, output 57VDC 1,2A, for EPOC Transceiver, Transmitter, Rec. |

Recommendations

Services