Specifications text

Article number

221273

Type

IAM-6MC1001M0A

Short description

Ethernet over Coax Transceiver Data/Power supply 270Mbps, 57VDC power input

Main Features

EPOC Ethernet and Power over Coax Transmission

RJ45 Ethernet and BNC-Female plug

Max. Transmission Rate 270Mbps Full Duplex

Data Transmission up to 2.4Km

Transmission PoC up to 1.2Km

Power Supply Transceiver 57V DC

Power Output 12VDC/2A (with optional power supply 221276)

128 Bit AES Network Encryption

Supports Multi Connection (Daisy Chain, Star)

Surge Protection

Temperature Range (Operating) -20° C bis +60°C

Easy Installation (Plug & Play)

Other Features (Specifications)

| Dimensions (HxWxD) | 28x83x132mm |
| --- | --- |
| Series | eneo EPOC, eneo Switch |
| Housing | Metal |
| Color | anthracite |
| Ethernet interface | 1000Base-T, 100Base-TX, 10Base-T |
| Data tranfer rate max. | 270 Mbps |
| Model | module |
| Supply voltage | 56VDC, Power over Coax (PoC) |
| Operating temperature | -20°C ~ +60°C |
| Weight | 200g |
| Colour | anthracite |
| Housing | Metal |
| Manufacturer order number | 221273 |
| Brand | eneo |

Additional Productinformation

Related products

| eneo EPOC Group Manager | Network management software creates network groups Netzwerkgruppen |
| --- | --- |
| IAM-4MU1001M0A | EPOC Signal Converter, BNC to 2-wire cable transmission for EPOC Cameras, Transceiver |
| IAM-6MC1001MTA | Ethernet Coax Transmitter Data & Power over Coax 1 x RJ-45, 1 x BNC |
| NE-141/220VAC-57VDC | Power supply input 100-240VAC, output 57VDC 1,2A, for EPOC Transceiver, Transmitter, Rec. |

Recommendations

Services