Specifications text

Article number

225719

Type

IED-68M3611MAA 703

Short description

1/2.5" Network Dome, Fixed, 3840x2160, Day&Night, WDR, 3,6-11mm, IR, Eisenglimmer

Main Features

1/2,5" Sony STARVIS CMOS

4K UHD Resolution (3840x2160), 25fps frame rate

Motorised varifocal lens 3,6~11mm with P-Iris

Intelligent self-learning video analysis (IntelliVision inside)

Wide Dynamic Range, True WDR (120dB)

Quad Streaming: H.264, H.265 x3, MJPEG x1, Smart Codec ROI Hi-Stream

Micro SD Card (SDHC, SDXC)

1 x Alarm in and output as well as audio support

Infrared illumination up to 30m

PoE IEEE 802.3af Class 0, 12VDC, IP66

Supports ONVIF Profile S and Profile T

Colour DB 703 iron mica matt

Other Features (Specifications)

| Manufacturer order number | 225719 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| VT-PS12DC-10 | Plugable AC/DC Adapter 100-240V/12VDC- 2.5A, stab., Cont. & UK Mains plug-ins |
| --- | --- |

Recommendations

| LACKIERUNG Fix-Dome-Kamera | Extra charge for special paint fixed dome in RAL color |
| --- | --- |

Services

| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |
| --- | --- |