Specifications text

Article number

221888

Type

IAD-5SG1004MUB

Short description

Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45 10/100/1000 Mbps, Desktop

Main Features

Gigabit PoE switch, desktop application

4x 10/100/1000 PoE Ports, IEEE 802.3ab/af/at/u

Gigabit Uplink Ports: 2 x RJ45

Up to 30W per Port, Total ?60W

Surge protection IEC61000-4-5 (6KV)

CCTV mode allows transmission up to 250m @ 10Mbps

Plug and Play no further settings necessary

Other Features (Specifications)

| Dimensions (HxWxD) | 27x135x86mm |
| --- | --- |
| Type | Unmanaged |
| Series | eneo Switch, Safe & Easy |
| Mounting | desktop |
| Blower | no |
| Ethernet interface | 1000Base-T, 100Base-TX, 10Base-T |
| VLAN | no |
| Ports | 2x 10/100/1000Base-T, 4x 10/100/1000Base-T (PoE) |
| PoE ports (number) | 4 |
| Management | no |
| Model | Desktop |
| Supply voltage | 48~57 VDC |
| Power consumption | 65W |
| Power over Ethernet | IEEE 802.3af, IEEE 802.3at |
| PoE budget | 60 W |
| Operating temperature | -10°C ~ +45°C |
| Weight | 350g |
| Manufacturer order number | 221888 |
| Brand | eneo |

Additional Productinformation

Related products

| RJT-1000SFP | RJ45- SFP Transceiver Modul, 1000Base-T, 0°~ +70°C |
| --- | --- |

Recommendations

Services