Specifications text

Article number

226674

Type

SC-IPH3002

Short description

Ethernet, PoE Extender, 1x IN, 2x OUT, Daisy-chain for cameras, 250m max.

Main Features

PoE- and Ethernet extender with daisy chaining

Cost-efficient extension of existing networks

Up to 10 PoE IP cameras via UTP

Range at 100Mbps: 100m

Range at 10Mbps: 250m

48V PSU included

Other Features (Specifications)

| Brand | SeeEyes |
| --- | --- |
| Type | PoE extender, PoE splitter |
| Ports | 2 |
| PoE ports (number) | 2 |
| Model | mini module |
| Supply voltage | 48VDC, PoE |
| PoE budget | 30 W |
| Operating temperature | -10°C ~ +50°C |
| Manufacturer order number | SC-IPH3002 |

Additional Productinformation

Related products

Recommendations

Services