Specifications text

Article number

226674

Type

SeeEyes SC-IPH3002

Short description

Ethernet, PoE Extender, 1x IN, 2x OUT, Daisy-chain for cameras, 250m max.

Main Features

PoE- and Ethernet extender with daisy chaining

Cost-efficient extension of existing networks

Up to 10 PoE IP cameras via UTP

Range at 100Mbps: 100m

Range at 10Mbps: 250m

48V PSU included

Other Features (Specifications)

| General |  |
| --- | --- |
| Number of PoE ports | 2 |
| Design | Mini module |
| Type | PoE Extender, PoE Splitter |
| PoE Budget (Total) | 30 W |
| Power supply | 48VDC, Poe |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Interfaces / Inputs/ Outputs |  |
| Ports | 2 |
| Product labeling: |  |
| Manufacturer order number | SC-IPH3002 |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services