Specifications text

Article number

226671

Type

SC-IPC07P

Short description

Media Converter Set, 1 Channel Ethernet over Coax Transmitter Receiver, Transmission 1000m

Main Features

1-channel Ethernet via coax transmission

Set consisting of transmitter and receiver

Long distance transmission via RG-6

Transmission range: 100Mbps up to 500m

Transmission range: 10Mbps up to 1km

Power supply unit included

Other Features (Specifications)

| Design | Mini module |
| --- | --- |
| Multicast | No |
| Type | Media converter |
| Fan | No |
| Management | No |
| Mounting type | Wall |
| Manufacturer order number | SC-IPC07P |
| Ports | 1 |
| Rack installation | No |
| Reach | 1 km |
| Series | SeeEyes SC-IP |
| Power supply | 48VDC, Poe |
| Temperature Range (Operating) | -10°C ~ +50°C |
| VLAN | No |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services