Specifications text

Article number

226938

Type

APS-180E-IO B KZRLW

Short description

3D Sensor, alle Lizenzen inklusive, schwarz, mit Aufputzgehäuse, POE

Main Features

Black

3 Digital inputs / outputs

Installation height 2 - 8 Meters

Including following licences: Object-Classification

Zone Monitoring

Video Recording

Object List

Wireless Services

8 GB internal storage

Other Features (Specifications)

| Series | APS |
| --- | --- |
| Camera Type | Retail Intelligence, Transportation |
| Motion Detector | yes |
| Housing | Indoor |
| Hosuing material | Plastic |
| Audio support | no |
| Serial interfaces | 10/100-Base-TX, M12 |
| Supply voltage | PoE |
| Vandal proof | no |
| Operating temperature | 0°C ~ +55°C |
| ONVIF | no |
| Manufacturer order number | APS-180E-IO B KZRLW |
| Brand | Xovis |

Additional Productinformation

<p>Als Einführungsangebot ist der Sensor mit allen unterstützten Lizenzen ausgestattet. Nach der Einführungsphase werden die Preise entsprechend angepasst.</p><p>Beinhaltet:</p><p>013.926-057 APS-180E-IO</p><p>Inklusive: <br />193.718-017 Aufputzgehäuse (Schwarz)<br />921.700-13B Objekt-Klassifikation<br />921.700-14B Zonen-Überwachung<br />921.700-17B Video Recording<br />921.700-11B Object List <br />921.700-22B Wireless Dienste</p>

Related products

| APS-180E Kamerastativ-Adapter | Kamerastativ-Adapter für APS-180E |
| --- | --- |
| APS-180E Outdoor Einbausatz | Outdoor installation kit APS-180E, verwendet M12 anstatt RJ45 Stecker |
| USB Wireless Network Adapter | USB Adapater, für Wireless Dienste der HELLA APS Sensoren |

Recommendations

Services