Specifications text

Article number

226845

Type

Solvido SOL-IQbox-plus-B

Short description

camera connection box for video security with lightning protection, 400x300x210mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Including service socket and electrical circuit breaker

Lightning protection combination arrestor type

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -40°C ~ +70°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 226845 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

| Jetrics jetassy-SBT12 | Spleissbox mit Telekom Spleisskassette für 12 Spleisse |
| --- | --- |
| Jetrics MDR-100-12 | Power Supply 12V / 7,5A for DIN rail mounting TS-35 |
| Jetrics MDR-100-48 | Power Supply 48V / 2A |
| Jetrics MDR-20-12 | Power Supply 12VDC / 1,67A for DIN rail mounting TS-35 |
| Jetrics MDR-60-12 | Power Supply 12VDC / 5A for DIN rail mounting TS-35 |
| Jetrics MDR-60-48 | Power Supply 48VDC / 1,25A for DIN rail mounting TS-35 |
| Solvido 50W Semiconductor power supply | with thermostat, for DIN rail mounting |
| Solvido SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| Solvido SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| Solvido SOL-WST-SSK-ES-30 |  |
| Solvido SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| Solvido SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services