Specifications text

Article number

226843

Type

SOL-IQbox-budget-B

Short description

camera junction box for video security applications, 400x300x210mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66

Impact resistance IK 10, vandalism protected

Including electrical circuit breaker 1-pole 6kA

Swivelling door (with door contact switch)

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -40°C ~ +70°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 226843 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

| 50W Semiconductor power supply | with thermostat, for DIN rail mounting |
| --- | --- |
| jetassy-SBT12 | Spleissbox mit Telekom Spleisskassette für 12 Spleisse |
| MDR-100-12 | Netzteil 12V / 7,5A für Hutschienenmontage TS-35 |
| MDR-100-48 | Power Supply 48V / 2A |
| MDR-20-12 | Netzteil 12VDC / 1,67A für Hutschienenmontage TS-35 |
| MDR-60-12 | Netzteil 12VDC / 5A für Hutschienenmontage TS-35 |
| MDR-60-48 | Netzteil 48VDC / 1,25A für Hutschienenmontage TS-35 |
| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 |  |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services