Specifications text

Article number

227479

Type

Safe&Easy-Set-04BF

Short description

Camera Recorder Set of 1 x NVR IER-28R040205A, 4 x Bullet Camera IEB-54F0028M

Main Features

Network Bullet Camera Fixed 2.8mm, Day&Night lens

Resolution max. 2592x1520

Compression H.265/H.264

Cross-web-browsing

ROI (Region of interest)Hi-Stream to reduce the bandwidth

Compact design, Outdoor applications, IP66

4-channel network video recorder, 2TB HDD

Easy installation with eneo IP cameras

Resolution IP cameras up to 8 megapixel

4x alarm input and 1x alarm output

4x PoE port (IEEE802.3af), total power 38W

4K 3840x2160 HDMI / VGA monitor output

Other Features (Specifications)

| Manufacturer order number | 227479 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Detailed specifications and operating instructions for the products used in the Safe&Easy-Set-04BF (227479) can be found under these article numbers227034: IER-28R040205A 225714: IEB-54F0028M0A

Related products

| AK-8B | Camera junction box, Wall and Ceiling mounting |
| --- | --- |
| AK-9B | Camera junction box for DH-6, Dome-WB4 |
| eneo Center | Remote Software IER-25xx, IER-28xx, IER-38xx, MSR-24xx, MSR-25xx, MER-Serie |
| eneo Center mobile | Mobile App for IER-25xx, IER- IER-28xx. IER-38xx, IEM-38xx MSR-24xx, MSR-25xx |
| eneo Site Manager | Management Software for eneo IP products |
| HDD-2000SATA Purple | Hard Disk Drive 2TB, SATA, for eneo Video Recorders, expansion |
| HDD-3000SATA Purple | Hard Disk Drive 3TB, SATA, for eneo Video Recorders, expansion |
| HDD-4000SATA Purple | Hard Disk Drive 4TB, SATA, for eneo Video Recorders, expansion |
| HDD-6000SATA Purple | Hard Disk Drive 6TB, SATA, for eneo Video Recorders, expansion |
| HDD-8000SATA Purple | Hard Disk Drive 8TB, SATA, for eneo Video Recorders, expansion |

Recommendations

Services

| CON-eneo-KON-04 | Preconfiguration 1x eneo recorder with up to 4 eneo IP cameras |
| --- | --- |
| CON-HDD-eneo | Hard disk installation service for eneo |
| CON-KOMP | Compatibility check for cameras, NVR, VMS systems (one pair of devices) |
| IER/PNR-KON4 | Configuration 1x PNR-53xx with 1-4 eneo IP Cameras |