Specifications text

Article number

226950

Type

SOL-IQbox-maxi-B

Short description

camera connection box for video security with power plug FI/LS, 500x400x210mm

Main Features

Optimised for outdoor use

Electrically pre-wired for flexible, modular installation

UV stabilised polycarbonate, corrosion resistant

Protection class IP 66

Impact resistance IK 10 vandalism-proof

Door can be swivelled (with door contact switch)

Wall or pole mounting

Quick and easy installation

Simple mechanical processing

Contemporary design

Service socket, RCD circuit breaker included

Other Features (Specifications)

| LED status indicator | No |
| --- | --- |
| Manufacturer order number | 226950 |
| Vibration sensor | No |
| Series | Solvido IQbox |
| Power supply | 230VAC |
| Temperature Range (Operating) | -25°C ~ +65°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

| CUS-CSF-060 | with thermostat, for DIN rail mounting |
| --- | --- |
| jetassy-SBT12 | Spleißbox mit Telekom Spleißkassette für 12 Spleiße |
| MDR-100-12 | Netzteil 12VDC / 7,5A für Hutschienenmontage TS-35 |
| MDR-100-48 | Netzteil 48V / 2A für Hutschienenmontage TS-35 |
| MDR-20-12 | Netzteil 12VDC / 1,67A für Hutschienenmontage TS-35 |
| MDR-60-12 | Netzteil 12VDC / 5A für Hutschienenmontage TS-35 |
| MDR-60-48 | Netzteil 48VDC / 1,25A für Hutschienenmontage TS-35 |
| SOL-WST-MB-40 | Pole Mount 40cm, set (2pcs) for SOL-IQbox-maxi |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-40 |  |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services