Specifications text

Article number

226950

Type

SOL-IQbox-maxis-B

Short description

camera connection box for video security with power plug FI/LS, 500x400x210mm

Main Features

Optimised for outdoor use

Electrically pre-wired for flexible, modular installation

UV stabilised polycarbonate, corrosion resistant

Protection class IP 66

Impact resistance IK 10 vandalism-proof

Door can be swivelled (with door contact switch)

Wall or pole mounting

Quick and easy installation

Simple mechanical processing

Contemporary design

Service socket, RCD circuit breaker included

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -25°C ~ +65°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 226950 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

| 50W Semiconductor power supply | with thermostat, for DIN rail mounting |
| --- | --- |
| jetassy-SBT12 | Spleissbox mit Telekom Spleisskassette für 12 Spleisse |
| MDR-100-12 | Netzteil 12V / 7,5A für Hutschienenmontage TS-35 |
| MDR-100-48 | Power Supply 48V / 2A |
| MDR-20-12 | Netzteil 12VDC / 1,67A für Hutschienenmontage TS-35 |
| MDR-60-12 | Netzteil 12VDC / 5A für Hutschienenmontage TS-35 |
| MDR-60-48 | Netzteil 48VDC / 1,25A für Hutschienenmontage TS-35 |
| SOL-WST-MB-40 | Pole Mount 40cm, set (2pcs) for SOL-IQbox-maxi |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-40 |  |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services