Specifications text

Article number

226950

Type

Solvido SOL-IQbox-maxis-B

Short description

camera connection box for video security with power plug FI/LS, 500x400x210mm

Main Features

Optimised for outdoor use

Electrically pre-wired for flexible, modular installation

UV stabilised polycarbonate, corrosion resistant

Protection class IP 66

Impact resistance IK 10 vandalism-proof

Door can be swivelled (with door contact switch)

Wall or pole mounting

Quick and easy installation

Simple mechanical processing

Contemporary design

Service socket, RCD circuit breaker included

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -25°C ~ +65°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 226950 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

| Jetrics jetassy-SBT12 | Spleissbox mit Telekom Spleisskassette für 12 Spleisse |
| --- | --- |
| Jetrics MDR-100-12 | Power Supply 12V / 7,5A for DIN rail mounting TS-35 |
| Jetrics MDR-100-48 | Power Supply 48V / 2A |
| Jetrics MDR-20-12 | Power Supply 12VDC / 1,67A for DIN rail mounting TS-35 |
| Jetrics MDR-60-12 | Power Supply 12VDC / 5A for DIN rail mounting TS-35 |
| Jetrics MDR-60-48 | Power Supply 48VDC / 1,25A for DIN rail mounting TS-35 |
| Solvido 50W Semiconductor power supply | with thermostat, for DIN rail mounting |
| Solvido SOL-WST-MB-40 | Pole Mount 40cm, set (2pcs) for SOL-IQbox-maxi |
| Solvido SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| Solvido SOL-WST-SSK-ES-40 |  |
| Solvido SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| Solvido SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services