Specifications text

Article number

226951

Type

Solvido SOL-IQbox-mini-B

Short description

camera connection box for video security application, 300x200x150mm

Main Features

Optimised for outdoor use

Electrically prewired for flexible, modular expansion.

UV stable polycarbonate, corrosion-resistant

Protective class IP66,

Impact resistance IK 10, vandalism protected

Including electrical circuit breaker 1-pole 6kA

Swivelling door

Wall or mast mounted

Fast, easy installation

Simple mechanical finishing

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 230VAC |
| Temperature Range (Operating) | -40°C ~ +70°C |
| Certifications | IK10 |
| Product labeling: |  |
| Manufacturer order number | 226951 |
| Series | Solvido IQbox |
| Brand | Solvido |

Additional Productinformation

Related products

| jetrics MDR-100-12 | Power Supply 12V / 7,5A for DIN rail mounting TS-35 |
| --- | --- |
| jetrics MDR-100-48 | Power Supply 48V / 2A |
| jetrics MDR-60-12 | Power Supply 12VDC / 5A for DIN rail mounting TS-35 |
| jetrics MDR-60-48 | Power Supply 48VDC / 1,25A for DIN rail mounting TS-35 |
| Solvido SOL-WST-MB-20 | Mastbefestigung 20cm für SOL-IQbox-mini, Set (2St) |
| Solvido SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| Solvido SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| Solvido SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services