Specifications text

Article number

228518

Type

IEB-72M2812MAA 9005

Short description

1/2,8" Network camera, 1920x1080, Day/Night, WDR, 2,7-12mm, IR, IP66, RAL9005

Main Features

1/2,8" Sony STARVIS CMOS

Resolution max. 1920x1080, 25fps frame rate

Motorised vary focal lens 2,7~12mm with P-Iris

Intelligent self learning video analysis (IntelliVision inside)

Wide Dynamic Range, T-WDR (120dB)

Quad Streaming: Smart Codec ROI Hi-Stream

Micro SD Card (SDHC, SDXC)

1 x Alarm in and output as well as audio support

Infrared illumination up to 30m

PoE IEEE 802.3af Class 0, 12VDC, IP66

Supports ONVIF Profile S und Profile T

Colour RAL 9005, black

Other Features (Specifications)

| Dimensions (HxWxD) | 86x90x279mm |
| --- | --- |
| Series | eneo SN-Series |
| Resolution Standard | HD 1080p |
| System | True Day&Night |
| Sensor size | 1/2.8" |
| Imager | CMOS |
| Video compression | H.264, H.264+ (Smart Stream), H.265, H.265+ (Smart Stream), M-JPEG |
| Image resolution max. | 1920x1080 |
| Image Transmission Rate | 30 fps |
| Day&Night switch | ICR |
| Sensitivity | 0,03 Lux at F1,6, 40 IRE |
| Low Speed Shutter | yes |
| Digital Noise Reduction | yes |
| Backlight Compensation | BLC |
| Wide Dynamic Range (WDR) | WDR 120dB |
| Motion Detector | yes |
| Lens Type | Varifocal (motorized) |
| Lens Type | Varifocal (motorized) |
| Focal Length | 2,7 - 12 mm |
| Iris Control | DC, P-iris |
| Zoom Factor | 4x |
| Digital Zoom | yes |
| Observe (62 px/m) | 16 - 55 m |
| Recognize (125 px/m) | 8 - 26 m |
| Identify (250 px/m) | 4 - 13 m |
| Detect (25px/m) | 40 - 130 m |
| Horizontal Angle of View | 100 - 33° |
| Vertical Angle of View | 56 - 18° |
| MOD (Mininum Object Distance) | 0,5 m |
| llumination | Infrared |
| Housing | Outdoor |
| Color (housing) | RAL9005 |
| Hosuing material | Aluminium |
| Blower | no |
| Video outputs | no |
| Alarm inputs | 1 |
| Alarm outputs | 1 |
| Audio support | yes |
| Ethernet interface | 100Base-TX, 10Base-T |
| Serial interfaces | Ethernet |
| Internal storage | microSDHC card, microSDXC card |
| Analysis functions | Defog, Intrusion, Loitering detection, Motion analysis, Motion detection, Person recognition, Tampering protection, Trip wire plus object counting |
| Mounting | Ceiling mount, Wall mount |
| Supply voltage | 12VDC, PoE |
| Power consumption | 9W |
| Power over Ethernet | IEEE 802.3af |
| Vandal proof | no |
| Operating temperature | -20°C ~ +50°C |
| ONVIF | ONVIF Profile S, ONVIF Profile T |
| Protection rating | IP66 |
| Camera type | Bullet |
| Audio | 2 Way Audio |
| Remote configuration | Browser |
| Illumination range | approx. 30m |
| Weight | 860g |
| Manufacturer order number | 228518 |
| Brand | eneo |

Additional Productinformation

<h2>Schwarze Full HD IP-Kamera für den diskreten Einsatz</h2><p>Bei eneo sind verschiedene IP-Kameras bereits ab Werk in Sonderlackierungen mit RAL-Farben erhältlich. Sehr gefragt ist zum Beispiel die schwarze IP-Kamera IEB-72M2812MAA 9005. Die schwarze Überwachungskamera wird bevorzugt dort eingesetzt, wo Videosicherheitstechnik besonderen architektonischen oder ästhetischen Anforderungen entsprechen muss. Beispielsweise wegen Denkmalschutzbestimmungen oder aufgrund von Design-Vorgaben. Ebenso kommt die schwarze IP Kamera in Anwendungen zum Einsatz, wo eine eher diskrete Überwachung angestrebt wird. Wenn es auf Design oder Diskretion ankommt, macht die schwarze IP Kamera aus der eneo Candid Serie immer eine sehr gute, weil zurückhaltende Figur. <br><br></p><h3>Optimierte Überwachung durch intelligente Videoanalyse</h3><p>Die schwarze Überwachungskamera von eneo verfügt über mehrere intelligente und selbstlernende Videoanalysefunktionen, so dass die Überwachung weitgehend automatisiert erfolgen kann. Dies  stellt eine immense Entlastung des Sicherheitspersonals dar. Zu den Funktionen zählen neben der Erkennung von unbefugtem Eindringen und herumlungernden Personen (Intrusions- und Loitering-Detektion) auch Bewegungsanalyse und Bewegungserkennung sowie eine Personen- und Richtungserkennung mit integrierter Objektzählfunktion. Die integrierte Infrarotbeleuchtung der schwarzen IP Kamera gewährleistet Videosicherheit rund um die Uhr, 24/7. <br><br></p><h3>Top Preis-Leistungs-Verhältnis</h3><p>Die schwarze Überwachungskamera von eneo ist mit einem motorisierten Varifokalobjektiv und einer P-Iris Blendensteuerung ausgestattet. Dies erlaubt eine schnelle, komfortable Einstellung des Bildbereich und damit eine schnelle Inbetriebnahme. Der bewährte Sony STARVIS CMOS-Sensor sorgt für Videobilder in Full HD Qualität, die in puncto Aussagekräftigkeit nichts zu wünschen übrig lassen. Darüber hinaus unterstützt die IP66-geschützte schwarze IP Kamera für den Außenbereich die 2-Wege-Audioübertragung und kann bei Temperaturen von -20°C bis 50°C problemlos eingesetzt werden. Die Interoperabilität mit ONVIF-konformen IP-Geräten anderer Hersteller gewährleisten die ONVIF Profile S und T. Mit all ihren Funktionen und der RAL-Sonderlackierung ab Werk bietet die schwarze Überwachungskamera Anwendern ein sehr gutes Preis-Leistungs-Verhältnis. <br><br></p><h3>Farblich passendes Zubehör</h3><p>Sie benötigen einen Anschlusskasten für die schwarze IP-Kamera? Kein Problem, denn mit dem AK-8B RAL 9005 führt eneo eine Kamera-Anschlussbox für die professionelle Wand und Deckenmontage, die im identischen Schwarzton ausgeliefert wird. </p>

Related products

| AK-8B RAL 9005 | Camera junction box for wall and ceiling mount, black |
| --- | --- |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |

Recommendations

Services

| CON-KAM-IPKON | Preconfiguration 1x IP camera Function test, FW update |
| --- | --- |