Specifications text

Article number

228519

Type

IEB-78M3611MAA 9005

Short description

1/2,5" Network camera, 3840x2160, Day/Night, WDR, 3,6-11mm, IR, IP66, black

Main Features

1/2,5" Sony STARVIS CMOS

4K UHD Resolution (3840x2160), 25fps frame rate

Motorised vary focal lens 3,6~11mm with P-Iris

Intelligent self learning video analysis (IntelliVision inside)

Wide Dynamic Range, True WDR (120dB)

Quad Streaming, Smart Codec ROI Hi-Stream

Micro SD Card (SDHC, SDXC)

1 x Alarm in and output as well as audio support

Infrared illumination up to 30m

PoE IEEE 802.3af Class 0, 12VDC, IP66

Supports ONVIF Profile S and Profile T

Colour RAL 9005, black

Other Features (Specifications)

| Manufacturer order number | 228519 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

| AK-8B RAL 9005 | Camera junction box for wall and ceiling mount, black |
| --- | --- |
| eneo Site Manager | Management Software for eneo IP products |
| IAD-5SG1004MUA | Gigabit Switch, Unmanaged, 60W, 4x PoE, 2x RJ45, 10/100/1000 Mbps, Desktop |
| IAD-5SG1008MUA | Gigabit Switch, Unmanaged, 120W, 8x PoE, 1xSFP, 1x RJ45, 10/100/1000 Mbps, Desktop |
| IAM-5SE1008MUA | Ethernet Switch, 8xPoE 100Mbps 1x RJ45, and 1x SFP 1000Mbps, Unmanaged, Industrial Design |
| IAR-7SE1024MMA | Gigabit Switch, 2x RJ45, 24x PoE 100Mbps, 2xSFP 1000Mbps, 390W, Managed, 19", 1U |
| IAR-7SG1016MMA | Gigabit Switch, Managed, 270W, 16x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |
| IAR-7SG1024MMA | Gigabit Switch, Managed, 390W, 24x PoE, 4x SFP, 10/100/1000 Mbps, 19", 1HU |

Recommendations

Services