Specifications text

Article number

228549

Type

SOL-IQswitch-4MD

Short description

Camera junction box with 4-port Gigabit switch, managed 4xPoE, 2xSFP, 1000Mbps

Main Features

Ready-made junction box solution

Incl. SOL-IQbox-budget-B

Incl. 4-port gigabit switch managed

Incl. Power supply unit

Electrically pre-wired and tested

Optimized for outdoor applications

UV stabilized polycarbonate, corrosion resistant

Protection class IP 66

Impact resistance IK 10, protected against vandalism

Pivotable door (with door contact switch)

Wall or pole mounting

Quick, easy installation

Other Features (Specifications)

| Series | Solvido IQbox |
| --- | --- |
| Housing | Outdoor |
| Color (housing) | RAL7035 |
| Hosuing material | Polycarbonate |
| Heater | optional |
| Dimension (lxwxd) | 400x300x210mm |
| Supply voltage | 230VAC |
| Operating temperature | -40°C ~ +70°C |
| Certifications | IK10 |
| Protection rating | IP66 |
| Manufacturer order number | 228549 |
| Brand | Solvido |

Additional Productinformation

Related products

| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| --- | --- |
| SOL-WST-SBL | Tightening strap long for SOL-WST-MB, CUS-WST, SOL-IQbox set 2pcs. 1.5m stainless steel |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 | Erdungsset für Schlösser SOL-WST-SSK für IQbox -budget, -eco, -switch |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services