Specifications text

Article number

230040

Type

MHR-28N16005A

Short description

Hybrid HD Video Recorder, 16-ch. analogue, 480fps, HDTVI AHD, IP, 2xSATA, HDMI, w/o HDD

Main Features

16-Channel Pentaplex Multisignal Recorder

IP, HD-TVI, AHD, CVBS signals supported

Max. 16-Channel (e.g., 16x IP or 16x analogue)

Recording speed IP 240fps@8MP, 240fps@5MP, 480fps@2MP

Monitor output HDMI (4K), VGA and Spot CVBS

Easy installation of the hard disk(s)

PTZ control via coax (UTC)

Audio/Alarm In- and Output

USB 2.0 and RS-485 interface

Compression Method: H.264, H.265

Remote access via App, Browser and CMS

IR remote control and USB-Mouse included

Other Features (Specifications)

| General |  |
| --- | --- |
| Recording Rate Maximum | 480 fps |
| External Eneo Operating Devices | Mouse, Remote control |
| Hard drive capacity (internal) | 0 TB |
| Hard drive capacity (max internal) | 32 TB |
| Drive (internal) | no |
| Recording |  |
| Resolution Recording (max) | 3840x2160 |
| Functions |  |
| Alarm triggers | Contact, Image loss, Movement, Panic record start, PoS text, System failure |
| Alarm response | Alarm Output, Buzzer, E-mail dispatch, FTP, Live Popup, PTZ Preset |
| Menu languages | English, German |
| Password | Administrator and User |
| Search function | Bookmark, Calendar, Event, Instant playback, Text, Thumbnail |
| Remote Access | Microsoft Internet Explorer, Remote Software |
| Interfaces / Inputs/ Outputs |  |
| Audio Inputs | 1 |
| IP Channels | 16 |
| Total Channels | 16 |
| Memory interface (external) | USB |
| Spot Monitor | Composite (FBAS) |
| Control Interfaces | Coaxitron (HD Protocol), RS-485 |
| Video Outputs | HDMI (4K), VGA |
| Video Inputs (Quantity) | 16 |
| Parts supplied |  |
| Scope of delivery | IR remote controller,PSU,HDD assembly-kit,mouse,19\" rack mount angle,manual |
| Product labeling: |  |
| Manufacturer order number | 230040 |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services