Specifications text

Article number

232727

Type

SC-IPC07PU

Short description

Media Converter Set, 1 Channel Ethernet over UTP Transmitter Receiver, Transmission 800m

Main Features

1-channel Ethernet, PoE over UTP transmission

Set of transmitter and receiver

Long distance transmission via Cat.5e

Transmission distance: 100Mbps up to 500m

Transmission distance 10Mbps up to 800m

Power supply unit included

Other Features (Specifications)

| Type | Media Converter |
| --- | --- |
| Series | SeeEyes SC-IP |
| Mounting | wall mount |
| Transmission medium | UTP |
| Ports | 1 |
| Model | mini module |
| Range | 800 m |
| Supply voltage | 48VDC, PoE |
| Operating temperature | -10°C ~ +50°C |
| Manufacturer order number | SC-IPC07PU |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services