Specifications text

Article number

232727

Type

SeeEyes SC-IPC07PU

Short description

Media Converter Set, 1 Channel Ethernet over UTP Transmitter Receiver, Transmission 800m

Main Features

1-channel Ethernet, PoE over UTP transmission

Set of transmitter and receiver

Long distance transmission via Cat.5e

Transmission distance: 100Mbps up to 500m

Transmission distance 10Mbps up to 800m

Power supply unit included

Other Features (Specifications)

| General |  |
| --- | --- |
| Design | Mini module |
| Type | Media converter |
| Mounting type | Wall |
| Reach | 800 km |
| Power supply | 48VDC, Poe |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Interfaces / Inputs/ Outputs |  |
| Ports | 1 |
| Product labeling: |  |
| Manufacturer order number | SC-IPC07PU |
| Series | SeeEyes SC-IP |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services