Specifications text

Article number

225059

Type

SC-IPC1208EH

Short description

Media Concerter, 8 Channels, Ethernet over Coax, Transmitter, Receiver, 1,8km

Main Features

8-channel Ethernet, PoE over coax transmission

Set of 8x transmitters, 1x 8-channel receiver

Transmission distance: max. 1,8km@20Mbit/s

Netzteil im Lieferumfang enthalten

Other Features (Specifications)

| Type | Media Converter |
| --- | --- |
| Series | SeeEyes SC-IP |
| Mounting | 19" rack, Freistehend, wall mount |
| Transmission medium | Coax |
| Ports | 8 |
| Model | housing, mini module |
| Range | 1,8 km |
| Supply voltage | 230VAC, 48VDC, PoE |
| Operating temperature | -10°C ~ +50°C |
| Manufacturer order number | SC-IPC1208EH |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services