Specifications text

Article number

233796

Type

IND-42M2808M0A

Short description

Mini Network Dome Fix, 1920x1080, Day/Night, WDR, AI 2,8-8mm, IR, 12VDC, PoE, IP66

Main Features

1/2.8" Sony STARVIS CMOS sensor,2 MP/60fps

AI analysis functions including object classification

WDR 120dB, 3D-DNR Noise Reduction

Motorized varifocal lens 2.8-8mm

Smart Codec H.265/H.264, multi-streaming

Browser independent (IE, Edge, Safari, Firefox, Chrome)

Supports ONVIF profiles S/T/G/M

Multilingual menu navigation (OSD)

Local storage via Micro SD card

Supports audio and external alarm input and output

NDAA compliance

IR LED illumination, IP66 and vandal proof IK10

Other Features (Specifications)

| EAN/GTIN | 4260229840191 |
| --- | --- |
| Audio support | Yes |
| Digital Noise Reduction (DNR) | Yes |
| Multicast | Yes |
| Vandalism-resistant | Yes, Yes |
| Alarm inputs | 1 |
| Resolution standard | 2 MP |
| Recording sensor | CMOS |
| Lighting | Infrared |
| Image resolution max. | 1920x1080 |
| Image transfer rate max. | 60 fps |
| Horizontal angle of view | 107 - 45° |
| Focal length | 2,8 - 8 mm |
| Chip size | 1/2,8" |
| Turning range | 350 |
| Dimensions (WxHxD) (extended) | 115x91,6mm |
| Alarm processing | recording internal storage (SD card),E-Mail,HTTP,FTP,TCP,UDP,alarm out,Cloud Upload |
| Audio | 2 Way Audio |
| Resolution (extended) | 1920x1080 (16:9),1280x960 (4:3),1280x720 (16:9),640x480 (4:3),320x240 (4:3) |
| Remark | NDAA compliance under Section 889,The face detection and license plate recognition functions are only available with an inserted SD card or in conjunction with a recorder from the eneo IN series.,To guarantee you an optimum user experience,we recommend th |
| Watch (62px/m) | 178 m |
| Browser | Edge, Firefox, Google Chrome, Safari |
| Data stream types | Triple-Stream(Main/Sub/Mobile) |
| Detect (125px/m) | 41 m |
| External connections | RJ-45,Alarm in/output,Audio input/output,12VDC input (DC plug),connection cable approx.45cm,micro SD card slot 256 GB |
| Flickerless function | Yes |
| Identify (250px/m) | 41 m |
| Camera shape | Minsters |
| Scope of delivery | manual,bag of screws |
| Menu languages | English, French, German, Italian, Japanese, Portuguese, Russian, Spanish, Turkish |
| Password | Administrator and User |
| SDK | upon request |
| Signal-to-noise ratio | 36 dB |
| Day/night mode | Automatic,Day,Night,Image,Time |
| Vertical tilt range | 0~ +80° |
| Perceiving (25px/m) | 457 m |
| White balance | Automatic,Manual |
| Color (dome) | clear |
| Housing type | Outside |
| Housing material | Aluminium |
| Internal memory | microSD card slot |
| Camera Type | Face, License plate recognition, People counting, Retail Intelligence |
| Photosensitivity | 0,002 Lux bei F1,2 |
| MOD (Minimum Object Distance) | 0.8 m |
| Mounting type | Ceiling, Wall |
| Lens Type | Varifocal (motorized) |
| ONVIF | ONVIF Profile G, ONVIF Profile M, ONVIF Profile S, ONVIF Profile T |
| Manufacturer order number | 233796 |
| Power over Ethernet | IEEE 802.3af |
| Protection | IP66 |
| Series | eneo IN-Serie |
| Control Interfaces | Ethernet |
| Power supply | 12VDC, Poe |
| System | True Day&Night |
| Day/night switching | Switchable IR Filter (ICR) |
| Temperature Range (Operating) | -35°C ~ +60°C,@ Luftfeuchtigkeit 90% oder weniger (nicht kondensierend) |
| Video Compression | H.264, H.264+, H.265, H.265+, M-JPEG |
| Wide Dynamic Range (WDR) | D-WDR |
| Certifications | IK10 |
| Zoomfactor (optical) | 2.8 |
| Brand | eneo |

Additional Productinformation

Related products

| AK-22 |  |
| --- | --- |
| AK-23 | Camera connection box for Mini Dome IND-42M2808M0A for holder Dome-WB6/Dome-CH6 |
| AK-24 | Dual camera connection box for selected Bullet or Fix Dome IN-Series cameras |
| DOME-CH6 | Ceiling pipe for junction box AK-23 and AK-25, Length approx. 294mm |
| DOME-WB6 | Wall bracket for Connection box AK-23 and AK-25 |
| DOME-WB7 | Wall bracket for Mini Dome IND-42M2808M0A |
| eneo INsight Installation Tool | Supports adjustments for cameras with AI features for IN-series |
| eneo INsight mobile | Mobile App for recorder IN- and MN-series |
| eneo Site Manager | Management Software for eneo IP products |
| WB-24 | Wall bracket for Dual camera connection box AK-24 |

Recommendations

| eneo INsight mobile | Mobile App for recorder IN- and MN-series |
| --- | --- |
| jetcon-Cat-Cat-FC | Feldkonfektionierbar |
| jetcon-RJ45S-Cat6-FC |  |
| jetcon-RJ45S-Cat6-small-FC | Feldkonfektionierbar |

Services

| Vorkonfiguration IP-Kamera | Preconfiguration 1x IP camera Function test, FW update |
| --- | --- |