Specifications text

Article number

234754

Type

AK-23

Short description

Camera connection box for Mini Dome IND-42M2808M0A for holder Dome-WB6/Dome-CH6

Main Features

Professional installation

For ceiling suspension including thread for ceiling pipe

Weatherproof IP64

Simple and fast cable connection

Compatible with the following products

Mini Dome IND-42M2808M0A

Wall bracket Dome-WB6 and ceiling pipe Dome-CH6

Other Features (Specifications)

| Brand | eneo |
| --- | --- |
| EAN/GTIN | 4260229840221 |
| Dimensions (HxWxD) | see drawing |
| Series | eneo IN-Series |
| Housing | aluminium |
| Color | Pantone P 179-1, RAL9003 |
| Manufacturer order number | 234754 |

Additional Productinformation

Related products

| DOME-CH6 | Ceiling pipe for junction box AK-23 and AK-25, Length approx. 294mm |
| --- | --- |
| DOME-WB6 | Wall bracket for Connection box AK-23 and AK-25 |

Recommendations

| jetcon-Cat-Cat-FC | Kabelverbinder AWG27-22, IP67 Feldkonfektionierbar |
| --- | --- |
| jetcon-RJ45S-Cat6-FC | RJ45 Stecker Cat.6 AWG22-27, Feldkonfektionierbar, schwarz |
| jetcon-RJ45S-Cat6-small-FC | RJ45 Stecker Cat.6 AWG22-26, Feldkonfektionierbar, schmale und kurze Ausführung |

Services