Specifications text

Article number

235339

Type

AK-24

Short description

Dual camera connection box for Bullet or Fix Dome IN-Series cameras

Main Features

Professional installation

Dual camera connection box including switch

Supports PoE standard IEEE 802.3at/af

Maximum power budget 25W

For wall and ceiling surface mounting

Weatherproof IP64

Easy and fast cable connection

Compatible with the following products

IN Series Fix Dome and Bullet Cameras

Other Features (Specifications)

| EAN/GTIN | 4260229840214 |
| --- | --- |
| Dimensions (HxWxD) | see drawing |
| Series | eneo IN-Series |
| Housing | plastic |
| Color | Pantone P 179-1, RAL9003 |
| Blower | no |
| Ethernet interface | 100Base-TX, 10Base-T |
| PoE ports (number) | 2 |
| Supply voltage | PoE |
| Power consumption | 30W max. |
| Power over Ethernet | IEEE 802.3af, IEEE 802.3at |
| PoE budget | 25 W |
| Protection rating | IP64 |
| Weight | 1.1kg |
| Manufacturer order number | 235339 |
| Brand | eneo |

Additional Productinformation

Related products

| CM-22 | Corner mounting adapter for wall bracket WB-24 and PTZ dome camera INP-75A0033MIA |
| --- | --- |
| WB-24 | Wall bracket for Dual camera connection box AK-24 |

Recommendations

| jetcon-Cat-Cat-FC | Kabelverbinder AWG27-22, IP67 Feldkonfektionierbar |
| --- | --- |
| jetcon-RJ45S-Cat6-FC | RJ45 Stecker Cat.6 AWG22-27, Feldkonfektionierbar, schwarz |
| jetcon-RJ45S-Cat6-small-FC | RJ45 Stecker Cat.6 AWG22-26, Feldkonfektionierbar, schmale und kurze Ausführung |
| jetcon-RJ45S-Cat6A-FC | RJ45 Stecker Cat.6A AWG22-27 Feldkonfektionierbar, blau |

Services