Specifications text

Article number

235339

Type

AK-24

Short description

Dual camera connection box for selected Bullet or Fix Dome IN-Series cameras

Main Features

Professional installation

Dual camera connection box including switch

Supports PoE standard IEEE 802.3at/af

Maximum power budget 25W

For wall and ceiling surface mounting

Weatherproof IP64

Easy and fast cable connection

Compatibility of mechanical accessories

See quick reference guide or accessories overview

Other Features (Specifications)

| EAN/GTIN | 4260229840214 |
| --- | --- |
| Dimensions (WxHxD) (extended) | siehe Maßzeichnung |
| Remark | NDAA compliance under Section 889 |
| Scope of delivery | mounting accessories |
| Manufacturer order number | 235339 |
| Series | eneo IN-Serie |
| Power supply | Poe |
| Brand | eneo |

Additional Productinformation

Related products

| CM-22 | Corner mounting adapter for wall bracket WB-24 and PTZ dome camera INP-75A0033MIA |
| --- | --- |
| WB-24 | Wall bracket for Dual camera connection box AK-24 |

Recommendations

| jetcon-Cat-Cat-FC | Feldkonfektionierbar |
| --- | --- |
| jetcon-RJ45S-Cat6-FC |  |
| jetcon-RJ45S-Cat6-small-FC | Feldkonfektionierbar |
| jetcon-RJ45S-Cat6A-F | Feldkonfektionierbar |

Services