Specifications text

Article number

236006

Type

APS-180E-IO B ZL SOL

Short description

Main Features

Other Features (Specifications)

| Audio support | No |
| --- | --- |
| Motion detector | Yes |
| Digital Noise Reduction (DNR) | Yes |
| Multicast | No |
| Sunshade canopy | No |
| Integrated wall mount | No |
| Backlight compensation | No |
| Housing type | Inside |
| Housing material | Plastic |
| Heating | Yes |
| Internal memory | 8GB |
| Camera Type | People counting, Retail Intelligence |
| Photosensitivity | 3 Lux |
| Low Speed Shutter | No |
| ONVIF | no |
| Manufacturer order number | 236006 |
| Protection | IP40 |
| Series | Hella Aglaia APS-180E |
| Power supply | 24VDC, Poe |
| Temperature Range (Operating) | -25°C ~ +70°C |
| Vandalism-resistant | No |
| Wiper | No |
| Brand | Videor |

Related products

| APS-180E Kamerastativ-Adapter |  |
| --- | --- |
| APS-180E Outdoor Einbausatz | Outdoor installation kit |
| APS-180E Unterputz-Einbausatz | concealed installation kit |
| USB Wireless Network Adapter |  |

Recommendations

Services