Specifications text

Article number

236135

Type

APS-90-Outdoor KZR SOL

Short description

3D Sensor für Personenzählung, Klassifikation, Zonen, Video Recording, IP65 Outdoor

Main Features

Personenzählung für den Außenbreich

Genauigkeit: 99%

Flächenabdeckung bis zu 30qm

Lizenzen: Klassifikation, Zonenüberwachung, Video Recording

Für Einbauhöhen von 2-6 Meter

Minimale Beleuchtung: 3 Lux

IP65

8 GB Interner Speicher

Nutzungsdauer >10 Jahre

Frontblende, Farbe: weiß

Other Features (Specifications)

| Series | Hella Aglaia APS-90E |
| --- | --- |
| Camera Type | People Count, Retail Intelligence |
| Sensitivity | 3 Lux |
| Motion Detector | yes |
| Housing | Outdoor |
| Hosuing material | Aluminium |
| Alarm inputs | nein |
| Audio support | no |
| Serial interfaces | 10/100-Base-TX, M12 |
| Internal storage | 8GB |
| Supply voltage | PoE |
| Vandal proof | no |
| Operating temperature | -25°C ~ +70°C |
| ONVIF | no |
| Protection rating | IP65 |
| Manufacturer order number | APS-90-OUTDOOR KZR SOL |
| Brand | Xovis |

Additional Productinformation

Related products

| APS-90-Outdoor Einbausatz | Outdoor Einbausatz für APS-90E-Outdoor, verwendet M12 anstatt RJ45 Stecker |
| --- | --- |

Recommendations

Services