Specifications text

Article number

236257

Type

SC-MUTP0801E

Short description

1-channel UTP-Transmitter supports AHD, TVI, CVI and CVBS, max 100m over CAT.5e

Main Features

1CH 'Video + Power + RS-485 Data' transmission via CAT.5e

Supports various signals: AHD/TVI/CVI (~1080p), CVBS (NTSC/PAL)

Video In: ~ 1080p25/30 (AHD, TVI, CVI, CVBS)

Video Out: ~ 1080p25/30 (AHD, TVI, CVI, CVBS)

Max. 700m over CAT.5e (AHD, CVBS)

Max. 400m (CVI), Max. 300m (TVI) via CAT.5e

Power supply for one camera (~8W/ DC12V)

Minimization of video noise

Built-in overvoltage protection circuit

Power supply 12VDC, 48VDC

-10°C ~ +50C Temperature range

Other Features (Specifications)

| Manufacturer order number | SC-MUTP0801E |
| --- | --- |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services