Specifications text

Article number

236808

Type

SC-USP01P

Short description

surge protection for CCTV- applications over UTP cable (IP,HD-Analogue, SDI)

Main Features

Surge protection for UTP cable applications

Suitable for IP, EX-SDI, AHD, TVI, CVI, CVBS

Supports PoE and Gigabit Ethernet

Other Features (Specifications)

| Brand | SeeEyes |
| --- | --- |
| Series | SeeEyes SC-IP |
| Manufacturer order number | SC-USP01P |

Additional Productinformation

Related products

Recommendations

Services