Specifications text

Article number

236811

Type

SeeEyes SC-IPC0708H

Short description

Mediaconverter set, 8-channel, Ethernet over Coax, reach 1000m

Main Features

8-channel Ethernet via coax transmission

Set consisting of transmitter and receiver (hub)

Long distance transmission via RG-6

Transmission range: 100Mbps up to 500m

Transmission range: 10Mbps up to 1km

Power supply unit included

Other Features (Specifications)

| General |  |
| --- | --- |
| Design | Mini module, Module |
| Type | Media converter |
| Mounting type | Wall |
| Reach | 1 km |
| Power supply | 240VAC, Poe |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Interfaces / Inputs/ Outputs |  |
| Ports | 1, 8 |
| Product labeling: |  |
| Manufacturer order number | SC-IPC0708H |
| Series | SeeEyes SC-IP |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services