Specifications text

Article number

236813

Type

SC-IPC1201TW

Short description

2-wire IP transmission set PoE, 700m reach 48V power supply included

Main Features

2-wire IP transmission set

Range with TP cable up to 700m / T-cable 200m

Power transmission via PoE

Overvoltage protection integrated

48V power adapter included

Other Features (Specifications)

| Brand | SeeEyes |
| --- | --- |
| Type | Empfänger, Sender |
| Series | SeeEyes SC-IP |
| Ports | 1 |
| PoE standard | PoE+ (IEEE802.3at) |
| Operating temperature | -10°C ~ +50°C |
| Manufacturer order number | SC-IPC1201TW + 48V 1A POWERSUPPLY |

Additional Productinformation

Related products

Recommendations

Services