Specifications text

Article number

236809

Type

SeeEyes SC-MCM01

Short description

cable tester for Coax / UTP 1,5" OLED Display

Main Features

Cable tester for coax / UTP cables

Verification of cable lengths, mapping and short circuits

Measurement of coaxial cables of up to 1.8 km

Measurement of UTP cables up to 600 m with TG02

1.5" high resolution OLED display

Built-in rechargeable battery for up to 3 hours of operation

Other Features (Specifications)

| General |  |
| --- | --- |
| Power supply | 12VDC |
| Product labeling: |  |
| Manufacturer order number | SC-MCM01 |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services