Specifications text

Article number

237249

Type

SeeEyes SC-IPU601T

Short description

1-channel-IP transmitter PoE over UTP, High Power (70W), High Reach up to 800m

Main Features

1-channel IP + PoE via UTP transmitter

PoE++ (IEEE 802.3af/at/bt, max 70W

Transmission range: 100Mbps up to 500m

Transmission range: 10Mbps to 800m

Supports Auto MDI/MDIX function

Power transmission with automatic power diagnostics

Built-in surge protection

Other Features (Specifications)

| General |  |
| --- | --- |
| Design | Module |
| Type | Media converter |
| Mounting type | Wall |
| PoE Budget (Total) | 70 W |
| Reach | 800 km |
| Power supply | 56VDC, Poe |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Interfaces / Inputs/ Outputs |  |
| Ports | 1 |
| Product labeling: |  |
| Manufacturer order number | SC-IPU601T |
| Series | SeeEyes SC-IP |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services

| SeeEyes SC-IPU601R | 1-channel-IP receiver, PoE over UTP, High Power (70W) , High Reach up to 800m |
| --- | --- |