Specifications text

Article number

237252

Type

SeeEyes SC-IPU601R

Short description

1-channel-IP receiver PoE over Coax, High Power 60W , High Reach up to 700m

Main Features

1-channel IP + PoE via coax receiver

PoE++ (IEEE 802.3af/at/bt, max 60W

Transmission range: 100Mbps up to 300m

Transmission range: 10Mbps up to 700m

Supports Auto MDI/MDIX function

Power transmission with automatic power diagnostics

Built-in overvoltage protection

Power supply included

Other Features (Specifications)

| Product labeling: |  |
| --- | --- |
| Manufacturer order number | SC-IPC601R + DC 56V1A |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services

| SeeEyes SC-IPC601T | 1-channel-IP transmitter, PoE over Coax, High Power, 60W, Long Reach up to 700m |
| --- | --- |