Specifications text

Article number

236275

Type

IAM-5SG1008MMC

Short description

Gigabit Switch, Managed, 360W, 4x PoE++, 4x poE+, 1000Mbps, Industrial Design, -40°C~+75°C

Main Features

Gigabit PoE Switch, DIN Rail, Fanless

8x Gigabit PoE ports (4x PoE++90W, 4x PoE+30W)

Supports IEEE 802.3af/at/bt

Supports P-PoE Permanent PoE technology

Total max. 360W (optional power supply)

4x SFP Gigabit Uplink Ports thereof 2x 10G SFP+

L2 management, web configuration, web management

Supports VLAN, RTSP, "Fast Ring" and QoS

Fast Ring redundancy, reconfiguration

Redundant power supply possible

Error relay, console port, status LEDs

Temperature range -40°C~+75°C

Other Features (Specifications)

| Manufacturer order number | 236275 |
| --- | --- |
| Brand | eneo |

Additional Productinformation

Related products

Recommendations

Services