Specifications text

Article number

238852

Type

SeeEyes SC-IPT3004P

Short description

4-Port PoE Switch and Ethernet Extender, 4-In-1-Out, 100Mbps full duplex, PoE++ 60W, 48 VDC

Main Features

4 x RJ-45 Input / 1 x RJ-45 Output

PoE++ (IEEE 802.3af/at/bt, max 60W)

10 / 100 Mbps Full Duplex

Netzteil im Lieferumfang

Other Features (Specifications)

| General |  |
| --- | --- |
| Fan | No |
| Management | Yes |
| Rack installation | No |
| Number of PoE ports | 4 |
| Design | Mini module |
| Type | PoE Extender |
| PoE Budget (Total) | 60 W |
| Power over Ethernet | IEEE 802.3bt |
| Protection | IP40 |
| Power supply | 48-56VDC |
| Temperature Range (Operating) | -10°C ~ +50°C |
| Interfaces / Inputs/ Outputs |  |
| PoE Standard | PoE IEEE802.3bt |
| Ports | 4x 10/100/1000Base-TX |
| Network |  |
| VLAN | Yes |
| Product labeling: |  |
| Manufacturer order number | SC-IPT3004P + 56V/2A adaptor |
| Series | SeeEyes SC-IP |
| Brand | SeeEyes |

Additional Productinformation

Related products

Recommendations

Services