Specifications text

Article number

239389

Type

SOL-IQswitch-8UDB

Short description

Camera junction box with 8-port Gigabit Switch, unmanaged including power supply, IP66, IK10

Main Features

Ready-made junction box solution

Incl. SOL-IQbox-budget-B

Incl. 8-port gigabit switch unmanaged

Incl. power supply unit

Electrically pre-wired and tested

Body made of UV-stabilised polycarbonate

Corrosion-resistant, protection class IP 66

Impact resistance IK 10, vandalism protected

Swivelling door (with door contact switch)

Wall or pole mounting (optional)

Quick and easy installation

Other Features (Specifications)

| Manufacturer order number | 239389 |
| --- | --- |
| Series | Solvido IQbox |
| Power supply | 230VAC |
| Temperature Range (Operating) | -35°C ~ +50°C |
| Certifications | IK10 |
| Brand | Solvido |

Additional Productinformation

Related products

| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| --- | --- |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 |  |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services