Specifications text

Article number

239387

Type

SOL-IQswitch-4UDB

Short description

Camera junction box with 6-port Gigabit switch, unmanaged including power supply, IP66, IK10

Main Features

Ready-made junction box solution

Including SOL-IQbox-budget-B

Incl. 6-port gigabit switch unmanaged

Incl. power supply unit

Electrically pre-wired and tested

Optimized for outdoor applications

UV stabilized polycarbonate, corrosion resistant

Protection class IP 66

Impact resistance IK 10, protected against vandalism

Pivotable door (with door contact switch)

Wall or pole mounting (optional)

Quick and easy installation

Other Features (Specifications)

| Series | Solvido IQbox |
| --- | --- |
| Housing | Outdoor |
| Color (housing) | RAL7035 |
| Hosuing material | Polycarbonate |
| Heater | optional |
| Dimension (lxwxd) | 400x300x210mm |
| Supply voltage | 230VAC |
| Operating temperature | -35°C ~ +55°C |
| Certifications | IK10 |
| Protection rating | IP66 |
| Manufacturer order number | 239387 |
| Brand | Solvido |

Additional Productinformation

Related products

| SOL-WST-MB-30 | Pole mounting for CUS-WST and SOL-IQbox series set (2pcs) |
| --- | --- |
| SOL-WST-SBL | Tightening strap long for SOL-WST-MB, CUS-WST, SOL-IQbox set 2pcs. 1.5m stainless steel |
| SOL-WST-SH/1 | Swivelling lever for profile half-cylinder (1pc.) delivery without lock cylinder |
| SOL-WST-SSK-ES-30 | Erdungsset für Schlösser SOL-WST-SSK für IQbox -budget, -eco, -switch |
| SOL-WST-SSK/1 | Lock with toggle lock (1 piece) with key, for CUS-WST and SOL-IQbox series |
| SOL-WST-WB | Wall mounting for CUS-WST and SOL-IQbox series set (4pcs) wall clearance 10mm |

Recommendations

Services