Specifications text

Article number

204007

Type

CAMTRV24

Short description

UTP Video Balun with 2 Wire Conntrol and 12/24 Volt Power Surge Protector

Main Features

Built-in passive UTP video Balun transceiver

Operates with Nitek passive or active receiver Baluns

3 Independent multi-stage design surge protector circuits

Insertion loss: <0.2dB

2.8V clamping voltage

Multi-function protects video/data&camera power inputs

Heavy single point ground

Easy install and operation

Other Features (Specifications)

| Brand | Nitek |
| --- | --- |
| Model | module |
| Type of unit | transmitter / receiver |
| Range | 225 m |
| Signal transmission | data, video, voltage |
| Operation mode | passive |
| Manufacturer order number | CAMTRV24 |

Additional Productinformation

<p><span style="color: rgb(254, 0, 0);"><strong>Bitte beachten Sie, dass es bei unserem US-Hersteller Nitek aufgrund der nachlassenden Verfügbarkeit älterer Bauteile, insbesondere analoger Video-Komponenten, zu Lieferverzögerungen kommen kann. Wir bitten um Ihr Verständnis.</strong></span></p>

Related products

Recommendations

Services