Specifications text

Article number

203998

Type

CHM22

Short description

4 Channel Crossover, Power Insertion, Data Distribution and Video Card

Main Features

Provides future system expansion or modification

Covers 4 zones with separately fused outputs

One 4-pair Cat. 5 cable for video, RS-422 and 24VAC

Detection LED`s for power and RS-422

TIA/EIA 568A or B compatible

Selectable voltage level: 24/28VAC

Card can be used in the CX452 card cage slots

Other Features (Specifications)

| Model | board |
| --- | --- |
| Operation mode | active |
| Operation mode | active |
| Type of unit | transmitter |
| Signal transmission | data, video, voltage |
| Protection rating | n/a |
| Manufacturer order number | CHM22 |
| Brand | Nitek |

Additional Productinformation

Related products

| CX452 | Modular Card Cage for 19" Rack Cabinet, 4 cards can be used max.4 Karten verwendbar |
| --- | --- |
| PS115 | Rack Mounted Power Supply Class II, 28VAC - 10A |

Recommendations

Services